## Slide 1: A qPCR assay that simultaneously detects Mycoplasma genitalium and mutations associated with macrolide resistance Litty Tan Director of Research & Development littyt@speedx.com.au

## Slide 2: Investigators
Royal Women’s Hospital (RWH), Melbourne, Australia
  Sepehr Tabrizi
  Jimmy Twin
  Jenny Su
  Marin Poljak
  Suzanne Garland
Melbourne Sexual Health Centre (MSHC), Australia
  Catriona Bradshaw
  Christopher Fairley
SpeeDx
  Samantha Walker
  Elisa Mokany
Disclosure
SpeeDx is the developer and manufacturer of the ResistancePlus™ assay evaluated in this study
2

## Slide 3: Mycoplasma genitalium (MG) clinical association
General population
    Detected in 1-3.3%
    Exact burden of disease is unknown
Men
    Strongly associated with non-gonococcal urethritis (NGU) (6-50%)
    Other conditions: Proctitis, Balanitis, Chronic prostatitis, Acute epididymitis
Women
    Strongly associated with cervicitis (5-20%)
    Other conditions: Endometritis, Pelvic inflammatory disease, Preterm birth

## Slide 4: Challenges of current clinical practice
Empiric treatment of NGU & cervicitis
  Doxycycline: poor efficacy, microbiological cure rate of MG is 30-40%
    Azithromycin: higher efficacy, 1 g single dose has 85% cure rate
Decreasing overall cure rates with azithromycin due to resistance
    Where 1 g azithromycin is used to treat NGU, macrolide resistance is ~30-40%
Resistance is associated with mutations in 23S rRNA gene
    A2058G, A2059G, A2058T, A2058C, A2059C (E. coli numbering)
    Mutations prevent azithromycin binding and inhibiting translation

## Slide 5: Current limitations of MG testing
MG detection
    In house qPCR tests and recent commercially available CE marked tests
Macrolide resistance detection (23S rRNA mutation)
    Strongly recommended by 2016 European guidelines on MG infections
    Methods for mutation detection
      Sequencing – Costly and generally not convenient for routine diagnostics
      High resolution melt analysis (HRMA) – Separate assay to MG detection, not easy to analyse
      Fluorescence resonance energy transfer (FRET) – Lacking in sensitivity

## Slide 6
ResistancePlus™ MG
Combined detection of MG and mutations associated with macrolide resistance in a multiplex qPCR test

## Slide 7: PlexZyme™ detection technology
F
Q
PlexZyme
Universal probe
Target amplicon
High Specificity, High Sensitivity, Universal Probe
Mokany et al JACS (2010) & Clin Chem (2013)
F
Q
F
F
Q
F

## Slide 8: PlexPrime™ for mutation detection Enhanced specificity and superior multiplexing
Mutation specific
PlexPrimer
X X X X X X
Plex
Standard primer
Matches
mutation
Mismatch increases specificity
PlexPrime amplicon
Mutation specific PlexPrime AND Mutation specific PlexZyme detection
PlexZyme
Mutation specific PlexZyme detection
Patent: WO 2013/123552
Signal Probe
Mismatched
to target
Insert
Increases specificity
Differs for each mutant

## Slide 9: ResistancePlus™ MG Sensitivity and specificity
9
 | Target | 
Channel 1 | MG detection (MgPa) | 
Channel 2 | 23S rRNA mutation | A2058G
 |  | A2059G
 |  | A2058T
 |  | A2058C
 |  | A2059C
Channel 3 | Internal Control | 

## Slide 10: ResistancePlus™ MG Sensitivity and specificity
 | Target |  | Sensitivity (copies/reaction)
Channel 1 | MG detection (MgPa) |  | 10
Channel 2 | 23S rRNA mutation | A2058G | 12
 |  | A2059G | 10
 |  | A2058T | 10
 |  | A2058C | 10
 |  | A2059C | 15
Channel 3 | Internal Control |  | n/a
 | Specific against other targets
Targets | M. hominis, U. parvum, U. urealyticum, C. trachomatis, N. gonorrhoeae, T. vaginalis, S. pneumoniae, M. pneumoniae, M. gallisepticum, E. coli, E. faecalis, P. aeruginosa, K. pneumoniae, HSV-1, HSV-2
10

## Slide 11: Prospective study: ResistancePlus™ MG Sample cohort
1089 samples received Nov 2015-Dec 2015 at RWH (Melbourne, Australia)
  Royal Women’s Hospital, Melbourne Sexual Health Centre, and external sites
  Symptomatic and asymptomatic males and females
 | Urine/ urethral swab | Anal swab | Cervical/ vaginal swab | Sample numbers
Male | 354 | 34 | n/a | 388
Female | 203 | 2 | 496 | 701
Total | 557 | 36 | 496 | 1089
Notes: 1089 Total
469 MSHC, 511 RWH, 109 external
MSHC – symptomatic – NGU, cervicitis, and/or PID, sexual contacts
RWH – asymptomatic females – seeking contraceptive advice, IUD, referral for medical and surgical termination of pregnancy, some men
External – STI screening

## Slide 12: Prospective study: ResistancePlus™ MG Clinical results
MG detection
 | % | 95% CI
Sensitivity | 98.5 | 91.7 to 99.9
Specificity | 100.0 | 99.6 to 100.0
PPV | 100.0 | 94.4 to 100.0
NPV | 99.9 | 99.5 to 100.0
12
MG prevalence
  Overall 6.0%, Male 10.8%, Female 3.3%
 |  | In house qPCR (16S rRNA) |  | 
 |  | + | - | Total
SpeeDx | + | 64 | 0 | 64
 | - | 1 | 1024 | 1025
 | Total | 65 | 1024 | 1089

## Slide 13: Prospective study: ResistancePlus™ MG Clinical results
23S rRNA mutant detection
13
MG 23S rRNA mutant prevalence
  Overall 63.1%, Male 81.0%, Female 30.4%
Highly multiplexed test with excellent clinical sensitivity and specificity
* Only includes MG positive samples by both methods
 |  | Sanger Sequencing |  | 
 |  | Mutant | Wild type | Total
SpeeDx | Mutant | 38 | 1 | 39
 | Wild type | 0 | 25 | 25
 | Total | 38 | 26 | 64*
 | % | 95% CI
Sensitivity | 100.0 | 90.8 to 100.0
Specificity | 96.2 | 80.4 to 99.9
PPV | 97.4 | 86.5 to 99.9
NPV | 100.0 | 86.3 to 100.0

## Slide 14: ResistancePlus™ MG and future directions
Potential to improve patient management and improve clinical outcomes
Evaluation with PHE Sexually Transmitted Bacterial Reference Laboratory
Other ResistancePlus™ assays in development
  MG fluoroquinolone resistance
  Gonorrhoea macrolide resistance
Please come and talk to us about MG and other tests!
CE marking in July